Evans County Board of Commissioners

Invitation to Bid

Evans County is accepting bids to connect the Public Safety Complex into existing water/sewer utilities and install a fire hydrant on property. See the below specifications. The Bid opening will take place on Wednesday December 18, 2024 at 3:00 pm in the County Commissioners’ Office located at 613 W Main St. Claxton, GA 30417.  All bids will be publicly read aloud at the above appointed time and location.  Evans County reserves the right to reject any and all bids, or to accept whole or part of any such bid that is deemed to be the best value to Evans County.  Please contact the Evans County Facilities Department by telephone (912) 326-3702 or via email at facilities@evanscounty.org with any questions.

Specifications

- Work includes equipment and labor to cut existing street and connect to sanitary sewer main with new 6” lateral and stub onto lot.

- Work includes equipment and labor to cut existing street and tie into existing water main with a new 6” PVC line and run to the corner of the lot. Includes setting a new fire hydrant and stubbing a new 2” service connection for the building.